OPENEYE OE-3226F12 A&E SPECIFICATIONS
12MP Outdoor IP Fisheye Camera
www.openeye.net

DIVISION 28 - ELECTRONIC SAFETY AND SECURITY

Section 28 00 00 Electronic Safety and Security

Section 28 20 00 Video Surveillance

Section 28 05 19 Storage Appliances for Electronic Safety and Security

Section 28 23 00 Video Management System

PART 1 GENERAL

SECTION 1

1.1 SUMMARY OF REQUIREMENTS

A. OE-C3226F12 Camera

- A 12 megapixel outdoor IP fisheye camera.

B. Related Requirements

- 28 05 00 Common Work Results for Electronic Safety and Security

- 28 05 25 Cloud Based Storage for Electronic Safety and Security

- 28 21 13.11 IP Cameras

- 28 21 13.13 Analytic Packages for IP Cameras

1.2 REFERENCES

A. Abbreviations

- Manufacturer's installation and operations manuals in digital or printed form.

i. CBR – Constant Bit Rate

ii. DHCP – Dynamic Host Configuration Protocol

iii. DNS – Domain Name Server

iv. FPS – Frames Per Second

v. GOP – Group of Pictures

vi. HTTPS – Secure HTTP

vii. IP – Internet Protocol

viii. IR – Infrared

ix. LAN – Local Area Network

x. NIC – Network Interface Controller

xi. NTP – Network Time Protocol over Ethernet

xii. NVR – Network Video Recorder

xiii. ONVIF – Open Network Video Interface Forum

xiv. OSD – On-Screen Display

xv. PoE – Power over Ethernet

xvi. ROI – Region of Interest

xvii. RTSP – Real-Time Streaming Protocol

xviii. SD Card – Secure Digital Flash Memory Card

xix. TCP – Transmission Control Protocol

xx. VBR – Variable Bit Rate

xxi. VMS – Video Management System

xxii. WAN – Wide Area Network

xxiii. WDR – Wide Dynamic Range

1.3 CERTIFICATIONS, STANDARDS, AND RATINGS

A. Reference Standards

- Networking

a. IEEE – 802.3 Ethernet Standards

- Video

a. ITU-T Recommendation H.264

1.4 SUBMITTALS

A. Product Data

- Provide manufacturer's datasheets in printed or electronic form.

- Provide manufacturer's installation and operating manuals/guides.

- Provide manufacturer's warranty statement.

1.5 QUALIFICATIONS

A. Manufacturer

- Company specializing in manufacturing products with at least ten years of experience.

B. Supplier

- Authorized distributor of specified manufacturer with at least five years of experience.

C. Installer

- Authorized installer of specified manufacturer with at least 5 years of experience.

1.6 DELIVERY, STORAGE AND HANDLING

A. Delivery

- Deliver materials in original, unopened and undamaged packaging in accordance with manufacturer's instructions.

B. Storage

- Store and guard materials from environmental and temperature conditions in accordance with manufacturer's instructions.

C. Handling

- Handle and operate products and systems in accordance with manufacturer's instructions.

1.7 WARRANTY

A. Warranty Period

- The manufacturer shall warrant the camera for a period of 5 years for the repair or replacement of defective equipment.

1.8 CERTIFICATIONS

A. Certification Types

- CE

- FCC

- IK10

- IP66

- UL

- UKCA

1.9 TECH SUPPORT

A. Support

- Technical support shall be based in North America.

- Technical support shall be via email or toll-free phone number.

- Technical support shall be available weekdays from 5 a.m. to 5 p.m. PST.

PART 2 PRODUCT

2.1 MANUFACTURER

A. Manufacturer

- OpenEye
1730 North Madson Street
Liberty Lake, WA 99019
TF: (888) 542-1103
P: (509) 232-5261
Website: https://www.openeye.net

B. Product

- OE-C3226F12 Camera

C. Product Description

- A 12 megapixel outdoor IP fisheye camera featuring a 1/1.7" Sony Progressive Scan CMOS sensor, a 1.65mm fixed fisheye lens, 182° field of view, adaptive IR up to 49', True Day/Night imaging, and H.264 encoding — delivering panoramic, high-resolution surveillance from a single device.

2.2 PRODUCT DESCRIPTION

A. General

- All equipment and materials used shall be standard components, regularly manufactured and regularly utilized in the manufacturer's system.

- All systems and components shall have been thoroughly tested and proven in actual use.

- All systems and components shall be provided with the availability of a toll-free technical support phone number from the manufacturer, allowing for immediate technical assistance for the dealer/installer at no charge.

- All systems and components shall be provided with an explicit manufacturer warranty.

B. Description

- The OE-C3226F12 is a 12MP outdoor IP fisheye camera designed to deliver panoramic, high-resolution surveillance from a single installation point. Equipped with a 1/1.7" Sony Progressive Scan CMOS sensor and a 1.65mm fixed fisheye lens, the camera provides a 182° field of view, making it ideal for monitoring large open areas, lobbies, retail floors, and other wide-format environments.

- The camera features True Day/Night imaging with a mechanical IR-cut filter and adaptive IR illumination up to 49', ensuring consistent image quality in both full daylight and complete darkness. True Wide Dynamic Range (WDR) allows the camera to adapt quickly to shifting lighting conditions, maintaining clear imagery in high-contrast scenes.

- The camera supports up to four video streams with H.264 compression and a maximum resolution of 3520 x 3520 at 30FPS. Image rotation options of 90°, 180°, and 270° provide flexible installation orientations.

- The OE-C3226F12 includes two-way audio with one audio input, one audio output, and a built-in microphone. Alarm I/O (1 in / 1 out) supports integration with external devices and real-time alerting. Onboard storage via a microSD card slot supports up to 1TB.

- The camera is powered by PoE (IEEE 802.3af) with a maximum power consumption of 6.5W. It is housed in a metal and plastic enclosure rated IP66 for weather resistance and IK10 for impact protection, and is NDAA compliant.

- The camera shall offer remote connectivity and management through OpenEye Web Services, governing video client access and user permissions in conjunction with a compatible recording device.

- The camera shall meet or exceed the following design and performance specifications:

a. The camera shall support management and remote connectivity through OpenEye Web Services in conjunction with a compatible recording device.
b. The camera shall make available system information including at least the following: model, firmware version, and MAC address.
c. The camera shall allow changing of image attributes including: brightness, contrast, saturation, sharpness, white balance, WDR, and day/night sensitivity.
d. The GUI shall allow rebooting of the camera, factory default of settings, and downloading of application logs.

C. Electrical Specification

- Power Input: PoE 802.3af

- Power Consumption: Max 6.5W

D. Environmental Specification

- Operating Temperature: -22°F ~ 131°F (-30°C ~ 55°C)

- Operating Humidity: 90% RH (Non-condensing)

E. Dimensional Specification

- Dimensions: Ø5.79" x 2.47" (Ø147 x 62.8mm)

- Weight: 1.55 lbs (704kg)

F. Mechanical Specification

- System

i. Housing: Metal & Plastic

ii. Image Sensor: 1/1.7" Sony Progressive Scan CMOS, 12MP

iii. Lens: 1.65mm Fixed Fisheye, F2.8

iv. Field of View: 182°

v. Day/Night: True Day/Night with IR-Cut Filter

vi. IR: Adaptive IR, up to 49'

vii. Wide Dynamic Range: True WDR

viii. Pan/Tilt/Rotate: N/A

ix. Ingress Protection: IP66

x. Impact Rating: IK10

- Video

i. Compression: H.264

ii. Streams: 4

iii. Max Resolution: 3520 x 3520

iv. Frame Rate: Up to 30FPS @ 3520 x 3520

v. White Balance: Auto/Manual/Smart

vi. Image Rotation: 90°, 180°, 270°

vii. Bitrate: VBR, CBR

viii. OSD: Up to 2

ix. ROI: Up to 3 Areas

x. Motion Detection: Up to 4 Areas

xi. Privacy Masking: Up to 5 Areas

- Audio

i. Audio In/Out: 1 In / 1 Out | Built-in Mic

ii. Audio Compression: G.711A, AAC

iii. Two-Way Audio: Yes

- Network

i. Ethernet: RJ-45, 10/100Mbps

ii. Power Source: PoE+ 802.3af

- Analytics

i. N/A

- Onboard Storage: MicroSD Card, up to 1TB

G. Key Accessories

- OE-CA32AP-01 – 32-Series Adapter Plate

- OE-CA32WM-01 – Wall Mount

- OE-CA32JB-01 – Dome Junction Box

- OE-CA32PC-01 – Pendant Mount Adapter

- OE-CA32PCKT-01 – OE-C3226F12 Pendant Mount Kit

- OE-CA00PMK-01 – Pole Mount Kit

- OE-CA00WM-01 – Indoor/Outdoor Wall Mount

- OE-CA00CM-01 – Corner Mount

- OE-CA00PMK-02 – Pole Mount Kit

- OE-CA32WMKIT-05 – OE-C3226F12 Wall Mount Kit

- OE-CA00JB-01 – Outdoor Junction Box

- OE-CA32WMKIT-03 – OE-C3226F12 Wall Mount Kit with Outdoor Junction Box

- OE-CA32PMKIT-03 – OE-C3226F12 Pole Mount Kit with Outdoor Junction Box

- OE-CA32WMKIT-04 – OE-C3226F12 Wall Mount Kit with Pendant Cap

- OE-CA32CMKIT-02 – OE-C3226F12 Corner Mount Kit with Pendant Cap

- OE-CA32PMKIT-04 – OE-C3226F12 Pole Mount Kit with Pendant Cap

- OE-CA32JBKT-01 – OE-C3226F12 Junction Box Kit

- OE-CA32AWMKT-01 – OE-C3226F12 Angled Wall Mount Kit

- OE-CA91AWM-01 – 91-Series Angled Wall Mount

- OE-CA32CPKIT-02 – OE-C3226F12 Ceiling Mounted Pole Kit with Pendant Cap

H. List of Supported Models

- The Network Video Camera shall be the following model or an approved equivalent:

| OE-C3226F12 | 12MP Outdoor IP Fisheye Camera with 1.65mm Fixed Fisheye Lens |
| --- | --- |

PART 3 EXECUTION

SECTION 3

3.1 EXAMINATION

A. Device shall be inspected for physical and cosmetic defects.

B. Package box shall include the following:

i. OE-C3226F12 Fisheye Camera

ii. Security Torx Tool

iii. Self-Tapping Screws/M4/6.8MM (x3) & Plastic Anchors 4-5MM (x3)

iv. Mounting Template

v. 12-Pin Terminal Block

vi. RJ45 Install Tool and Grommet

3.2 PREPARATION

A. ESD-sensitive parts shall be properly protected against static buildup through the use of static shielding material.

B. Package box shall contain adequate padding to prevent damage to device and parts during shipping.

3.3 INSTALLATION

A. Device shall be installed in accordance with the manufacturer's installation guide provided.

B. Device shall be installed by qualified service professionals.

C. Device shall be installed in accordance with the National Electric Code or applicable local codes.

D. Device shall be installed in locations which adequately support the device's environmental and electrical requirements.

3.4 FIELD QUALITY CONTROL

A. Test for proper communication between device and supporting devices.

B. Test for proper operation of device's system software and related software programs.

C. Determine and report all problems to the manufacturer's customer service representatives.

3.5 ADJUSTING

A. Make all necessary adjustments to the device and supporting devices to ensure proper operation.

B. Make all necessary adjustments to the devices to satisfy end-user requirements.

3.6 DEMONSTRATION AND TRAINING

A. Perform final inspection to validate and ensure proper functioning of the device.

END OF DOCUMENT